{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":33,"n_cols":7,"rows_kept":33,"merged":[[0,1,0,2],[1,1,1,2],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,0,20,0],[13,1,20,1],[13,4,20,4],[13,5,20,5],[13,6,20,6],[21,0,26,0],[21,1,26,1],[21,4,26,4],[21,5,26,5],[21,6,26,6],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2]],"flags":["formulas_cached_only"]}
["序号","分项名称",null,"品牌规格型号","数量","单位","单价"]
["1","SO2分析仪主机及附件",null,"赛默飞 43i","9.0","套",62000]
["2","NO2分析仪主机及附件",null,"赛默飞 42i","9.0","套",62000]
["3","CO分析仪主机及附件",null,"赛默飞 48i","9.0","套",62000]
["4","O3分析仪主机及附件",null,"赛默飞 49i","9.0","套",62000]
["5","气象五参数",null,"里肯科技IIES-1125","9.0","台",15000]
["6","动态校准仪",null,"赛默飞 146i","9.0","台",52000]
["7","零气发生器",null,"赛默飞 111","9.0","台",25000]
["8","标气系统（SO2）",null,"赛默飞配套","9.0","套",1500]
["9","标气系统（NO2）",null,"赛默飞配套","9.0","套",1500]
["10","标气系统（CO）",null,"赛默飞配套","9.0","套",1500]
["11","环境监控与质控联动设备",null,"奥瑞环保AR1510","9.0","台",12000]
["12","VPN 设备",null,"深信服 VPN-1000-B1030","9.0","套",18000]
["13","站房配套设备（含机架、UPS、稳压电源、空调、除湿机、壁挂式温湿度计、灭火器等）","机架","高凌定制","9.0","套","20000.0"]
[null,null,"UPS","科华 10KVA"]
[null,null,"稳压电源","易事特 15KVA"]
[null,null,"空调","美 的 KFR-72LW 、 KFR-50GW"]
[null,null,"除湿机","山岛 CFZ-850"]
[null,null,"壁挂式温湿度计","高凌定制"]
[null,null,"大气压计","高凌定制"]
[null,null,"灭火器","高凌定制"]
["14","监控设施","人脸识别摄像机","海康DS-2CD7A27EWD","9.0","套",6000]
[null,null,"区域入侵摄像机","海康DS-2CD2626FWDA3-LZS"]
[null,null,"采样区域对射的摄像头","海康DS-2DE7430IW"]
[null,null,"硬盘刻录机（存储硬盘）","海康DS-7716NX-I4，配8T 及以上（至少保证存储1 个月视频资料）"]
[null,null,"视频传输专用交换机","海康DS-3E1510P-S"]
[null,null,"立杆、网线等配套设施","配套"]
["15","提供1 年用耗材",null,"高凌定制","1.0","年",8000]
["16","包装及运输",null,"高凌实施","1.0","项",0]
["17","安装、调试、验收、质保期一年、气态污染物（SO2、O3、NO2、CO）及原有颗粒物仪器设备运维期限1 年（运维期自项目验收合格之日起计）",null,"高凌实施","1.0","项",450000]
["18","市级管理平台升级改造",null,"高凌实施","1.0","项",0]
["19","培训及技术指导服务",null,"高凌实施","1.0","项",0]
["20","备品备件：颗粒物、气态污染物（SO2、NO2、O3、CO），每个包需提供2 套备品备件。",null,"赛默飞配套","1.0","项",0]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}