{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":26,"n_cols":7,"rows_kept":26,"merged":[[1,1,1,2],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,0,13,0],[12,1,13,1],[12,4,13,4],[12,5,13,5],[12,6,13,6],[14,1,14,2],[15,1,15,2],[16,0,17,0],[16,1,17,1],[16,2,16,3],[16,4,17,4],[16,5,17,5],[16,6,17,6],[18,0,23,0],[18,1,23,1],[18,4,23,4],[18,5,23,5],[18,6,23,6],[24,1,24,2],[25,1,25,2]],"flags":["formulas_cached_only"]}
["序号",null,"分项名称","品牌规格型号","数量","单位","单价"]
["1","安装、调试、验收、质保期一年、气态污染物（SO2、O3、NO2、CO）及原有颗粒物仪器设备运维期限1年（运维期自项目验收合格之日起计）",null,null,"1.0","年","90000.0"]
["2","市级管理平台升级改造",null,null,"1.0","套","2400.0"]
["3","培训及技术指导服务",null,null,"1.0","批","1000.0"]
["4","备品备件：颗粒物、气态污染物（SO2、NO2、O3、CO），每个包需提供2套备品备件。",null,null,"1.0","套","35000.0"]
["5","SO2分析仪主机及附件",null,"峰悦奥瑞、1032","9.0","套","58500.0"]
["6","NO2分析仪主机及附件",null,"峰悦奥瑞1014","9.0","套","62000.0"]
["7","CO分析仪主机及附件",null,"峰悦奥瑞、1012","9.0","套","59000.0"]
["8","O3分析仪主机及附件",null,"峰悦奥瑞、1016","9.0","套","62000.0"]
["9","气象五参数",null,"峰悦奥瑞、AR5900","9.0","套","3900.0"]
["10","动态校准仪",null,"峰悦奥瑞、1046","9.0","台","55000.0"]
["11","零气发生器",null,"峰悦奥瑞、1011","9.0","台","43000.0"]
["12","标气系统（含减压阀）","SO2、NO2、CO、O3 一级标气（含减压阀）","圣通和、定制","9.0","套","3000.0"]
[null,null,"配套采样系统","圣通和、定制"]
["13","环境监控与质控联动设备",null,"峰悦奥瑞、AR1510","9.0","套","52000.0"]
["14","VPN设备",null,"深信服、VPN-1000","9.0","套","9000.0"]
["15","站房配套设备（含机架、UPS、稳压电源、空调、除湿机、壁挂式温湿度计、灭火器等）","圣通和、定制",null,"9.0","套","34000.0"]
[null,null,"空调","海尔、KFR-50GW/19HDA82U1 海尔、KFR-50LW/07EDS81U1"]
["16","监控设施","人脸识别摄像机","海康威视、DS-2CD7A27EVWDV2-LZS/Q1/JM(2.8-12mm)+HV3816D-8MPIR","9.0","套","10000.0"]
[null,null,"区域入侵摄像机","海康威视、DS-2CD5027EFWD-A(B)+HV3816D-8MPIR"]
[null,null,"采样区域对射的摄像头","海康威视、DS-2DC6432IW"]
[null,null,"硬盘刻录机（存储硬盘）","海康威视、DS-7608N-E2"]
[null,null,"视频传输专用交换机","定制"]
[null,null,"立杆、网线等配套设施","定制"]
["17","提供1年用耗材",null,"圣通和、定制","1.0","年","10000.0"]
["18","包装及运输",null,null,"1.0","套","1000.0"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}